## Sheet1
3766 Mayflower - Property Scope of Work
Buyer Name: TBD
Memphis, Tennessee 38118
Renovation Scope of Work | Gold Package
Home - General
Exterior
Install new roof- 30 year dimensional shingle on entire roof, replace, and replace rotten wood as necessary.
repaint or install new shutters
replace rotten wood on cornice and fascia, paint trim
Install new replacement windows, double pane, low e glass with lifetime breakage warranty
Install new garage doors on main building and back building, trim out and paint back building
Paint exterior of home
Cut mow and landscape sides and back of home.
Interior
Refinish hardwood floors in bedrooms, and living room.
Clean and refinish cabinets in kitchen, install new countertop and sink with faucet, install new door pulls..
Repaint interior
Certify all plumbing is working using licensed plumber, replace in pvc as necessary and pull all permits.
Install new light fixtures as needed.
Install miniblinds throughout
Tile kitchen, install new countertop and refinish cabinets.
Update bathroom with new tub, tile, surround, and pedestal sink
Insure electrical is up to code, install GFI's as necessary in kitchens and baths. New breaker box if needed, home currently has box.
Rekey all doors and locks to master key
Box washer dryer connections in laundry nook.
Install 2 Fire Extinguishers and smoke detectors.
Install NEW HVAC Equipment and Water Tank
Rebuild exterior deck porch and swing in rear of home.
Mow lawn, leaf pickup, minor landscaping as necessary.
All city and county permitting included in cost.
Clean house when work is completed
All repairs included in purchase price of home. Please note all maintenance is guaranteed for a period of 60 days after renovation completion.