## Sheet1
Property Scope of Work
Property Address: 7703 Marvin
Buyer Name:
Millington, TN 38053
Renovation Scope of Work
Home - General Interior
Repaint interior, two tone in semi gloss
New interior door handles as needed
Refinish hardwood flooring throughout home
Cut pass through bar into divding wall between kitchen and dining room.
Install new countertop and sink, install new in kitchen
Install new exterior doors
New ceiling fans in family room
Retile laundry room area/ new washer box/ new dryer vent
Bathroom: new vanity / new light fixture/ new toilet/ new tub/new tub drains and knobs/ new shower head/ new fixtures/
Ensure all closets have doors/ poles and shelving
Install new light fixtures throughout home
Install miniblinds throughout/Replace light switch plates throughout
Install new custom windows throughout home, double pane, low e glass
New water tank
Ensure all plumbing is working correctly with no leaks
Ensure all electrical is fuctioning correctly all switches and knobs work
Install new HVAC system with 10 year warranty
Home Exterior
Install new dimensional roof with 30 year shingle and drip edge
Paint exterior brick and trim
Replace rotten wood around windows and trim as needed/ repair siding/paint exterior trim and paint.
Rekey home to master key
Install security doors on front and back doors
Clean backyard and carport storage
Install 1 Fire Extinguishers and 2 smoke detectors.
Deep Clean and other rent ready duties/ cut the grass
All repairs and rehab work is warrantied for 60 days from the date of tenant move in