## Sheet1
Property Scope of Work and Estimated Cost Projections
Property Address: 2127 Stovall
Buyer Name: TBD
Memphis, Tennessee 38108
Renovation Scope of Work
Home - General Interior
Bathrooms - Install new tub, toilet, and vanity in each bathroom. Install tile surround, mirror, medicine cabinet, and tile floor with durock.
Kitchen - Install new tile, countertop, and stainless steel sink. Install new hardware throughout kitchen. Tile kitchen floor and add durock.
Refinish hardwood flooring throughout home
Paint interior walls and ceilings - repair walls and ceilings as needed - prime, prep, paint. Paint trim in oil throughout home
Install new light fixtures in home
Install new doorknobs on each door in home, new hardware on cabinets.
Install new dimensional roof, 30 year shingle, total tear off
Install fire extinguishers and smoke detectors
Exterior doors - repair or replace
Pressure wash entire home, paint trim. Replace any rotten cornice and fascia, replace rotten wood on exterior
Install new gas water tank
Install new 3 ton HVAC system, including all new insulated ducting. Install disconnects for ac and furnace using licensed electrician.
Install security doors on front and rear of home if needed
Clean year, remove leaves, minor lanbdscaping
Clean house when all work is done
Install new outlets and switches throughout home using licensed electrician
All repairs and rehab work is warrantied for 60 days from the date of tenant move in