## Sheet1
Property Scope of Work and Estimated Cost Projections
Property Address: 900 - 902 Brower
Buyer Name:
Memphis, Tennessee 38111
Renovation Scope of Work
General Rehab - BOTH UNITS
Ensure all junk/ rubbish is removed from home
Refinish all hardwood flooring
Bathrooms x 3 - New tile, New tile surround, New toilet, new vanity, new hardware, new accessories, new fiberglass tub, and vent
Kitchen x 2- refinish and poly base and upper cabinets, New hard surface countertop, new vent hood, new sink and faucet. Tile kitchen floor
New washer Box and dryer vent
New switches/ fixtures/ outlets
Ensure all windows open, close, and lock properly (replace windows where needed). Raeplace cracked window.
Upgrade electrical panel If needed, outlets, and switches
Wall and ceiling repair/prep/paint
New miniblinds
New Water tank x 2
Ensure all plumbing is working with no leaks
Ensure all electrical repaired and is working properly
Change out HVAC system, 10 year warranty on system from manufacturer x 2
Install new dimensional roof, 20 year architectural shingle, including Garage
Replace exterio rotten wood, and paint exterior trim
Deep clean and make rent ready after construction
Cut grass and clean up yard/ remove over growth
Install fire extinguishers, smoke detectors, and Co2 detectors.
Repaint extrior trim and front porch
Replace rotten wood where needed, paint repairs/ pressure wash exterior
All repairs and rehab work is warrantied for 30 days from the date of tenant move in